## Sheet1
	EMPIAR data sets
	10005	10017	10057	10454
Data parameters	TRPV1 ion channel	β-Galactosidase	T20S proteasome	Fatty Acid Synthase
Voltage (kV)	300
Pixel resolution (Å/pixel)	1.2156	1.77	1.35	1.06
Box size (pixels)	256	180	176	320
Largest micrograph dimension (pixels)	3710	4096	3838	4096
Number of micrographs	849	84	158	4593			8,472 particles & 117 mrcs lost
Number of particles	80,443	40,863	35,469	110,597			(not available in public data)
Average number of particles per micrograph	95	486	224	24			1 TIFF file discarded - file cannot be parsed properly (CB1__00724_Feb19_12.00.25)
Molecular weight (kDa)	300	465	700	452			subset of micrographs provided by authors - 1 micrograph does not have any particles labeled

Topaz parameters
Scale	4					# When using the pretrained pickers, they assume that microcraphs are downsampled to the 4-8 Å per pixel range: https://github.com/tbepler/topaz/blob/master/tutorial/01_quick_start_guide.ipynb
Downsampled resolution (A / pixel)	4.8624	7.08	5.4	4.24
Downsampled boxsize	64	45	44	80
Particle radius	32	23	22	40

RELION motion correction
Number of frames	N/A	N/A	12	N/A			use reference gain Feb_18 with Feb_18 mrcs, and all other mrcs with Feb_19 reference gain
Total dose (e/Å^2)			30				only 40 frames per TIFF (30 in the case of two files)
Dose per frame(e/Å^2)			2.5				common factor of 30 and 40
Number of patches X, Y			5, 5
Group frames			1

CTF estimation
FFT box size	512		N/A / (phase plate)
Minimum resolution	20
Maximum resolution	4	3
Defocus (min, max, step)	(8000,55000,500)	(10000,35000,500)		(5000, 35000, 500)

RELION 2D classification
CTF/ignore CTFs until first peak?	Yes
Optimization/number of classes	32
Mask diameter (A)	308	216		480

RELION 3D autorefine
Do CTF-correction?	Y	Y	N	Y
Initial low-pass filter (Å)	64
Symmetry	C4	D2	D7	D3

Evaluation
Singular published density	Y	Y	Y	Y
Published half maps available	N	N	N	Y