## Sheet1
	EMPIAR data sets
	10005	10017	10057	10454	10093
Data parameters	TRPV1 ion channel	β-Galactosidase	T20S proteasome	Fatty Acid Synthase	ion channel NOMPC	negative control
Voltage (kV)	300
Pixel resolution (Å/pixel)	1.2156	1.77	1.35	1.06	1.2156	1.096
Box size (pixels)	256	180	176	320	288	N/A			particle picking performed at 288 pixels, but particles extracted at 400 pixels
Largest micrograph dimension (pixels)	3710	4096	3838	4096	3838	3838
Number of micrographs	849	84	158	4593	1,873	220			8,472 particles & 117 mrcs lost (not available in EMPIAR entry)
Number of particles	80,443	40,863	35,469	110,597	175,314	0			provided by A. Noble (NYSBC)
Average number of particles per micrograph	95	486	224	24	94	0
Molecular weight (kDa)	300	465	700	452	779	N/A

Topaz parameters
Scale	4					# When using the pretrained pickers, they assume that microcraphs are downsampled to the 4-8 Å per pixel range: https://github.com/tbepler/topaz/blob/master/tutorial/01_quick_start_guide.ipynb
Downsampled resolution (A / pixel)	4.8624	7.08	5.4	4.24	4.8624	4.384
Downsampled boxsize	64	45	44	80	72	N/A
Particle radius	32	23	22	40	36	N/A

RELION motion correction
Number of frames	N/A		12	N/A
Total dose (e/Å^2)			30
Dose per frame(e/Å^2)			2.5
Number of patches X, Y			5, 5
Group frames			1

RELION CTF estimation
Use CTFFIND-4.1?	Yes		N/A / (phase plate)	Yes
FFT box size	512			512
Minimum resolution	20			20		30
Maximum resolution	4	3		3	3	5
Defocus (min, max, step)	(8000,55000,500)	(10000,35000,500)		(5000, 35000, 500)	(5000, 50000, 500)

RELION 2D classification
CTF/ignore CTFs until first peak?	Yes
Optimization/number of classes	32
Mask diameter (Å)	308	216		480	352	999

RELION 3D auto-refine
Do CTF-correction?	Yes	Yes	No	Yes	Yes	N/A
Initial low-pass filter (Å)	64
Symmetry	C4	D2	D7	D3	C4

RELION mask creation
Initial binarisation threshold	set ad hoc (check maps in Chimera)					N/A
Extend binary map this many pixels	(3,3) used for soft masks provided to auto-refinement / for final maps, (3,3), (3,6), and (6,6) tested (best mask chosen based on normative resolution reported by RELION post-processing)
Add a soft-edge of this many pixels